## 17. SWIMMING POOL EQUIPMENT
1 7 > S W I M M I N G P O O L E Q U I P M N E N T
T Y P E / P R O D U C T | C O D E | D E S C R I P T I O N | P R I C E (EUR) | DISCOUNT (%)
INLETS - concrete (to glue) |  |  |  | #REF!
| PA072002N | Return inlet with pre-marked holes on the ball giving diameters of 14 mm, 20 mm a 25 mm. Allows several flow rates depending on the installation: D14= 3 m3/h, D20 = 5 m3/h, D25 = 7 m3/h. | 8.71 | #REF!
| PA072008N | Wall conduit, 240 mm in lenght, internal connections of 2" and 50 mm. Outside diam. 63 mm. For inlets. | 12.01 | #REF!
| PA072039N | Wall conduit, 240 mm in lenght, internal connections of 2" and 50 mm. Outside diam. 63 mm. For inlets. | 11.29 | #REF!
INLETS - standard liner |  |  |  | #REF!
| PA072019BN | Return inlet with pre-marked holes on the ball giving diameters of 14 mm, 20 mm a 25 mm. Allows several flow rates depending on the installation: D14 = 3 m3/h, D20 = 5m3/h, D25 = 7 m3/h. With brass cavity. | 13.49 | #REF!
| PA072022BN | Suction inlet. Cap with 2" external thread and 50 mm internal diameter. With brass cavity. | 16.92 | #REF!
| PA072019NXL | Return inlet with pre-marked holes on the ball giving diameters of 14 mm, 20 mm a 25 mm. Allows several flow rates depending on the installation: D14 = 3 m3/h, D20 = 5m3/h, D25 = 7 m3/h. With brass cavity. | 32 | #REF!
| PA072021NXL | Suction inlet. Cap with 2" external thread and 50 mm internal diameter. With brass cavity. | 28.02 | #REF!
INLETS - for prefabricated pools |  |  |  | #REF!
| PA072019NX | Recirculation inlet for prefabricated pool. Return inlet with ball diameters 14 mm, 20 mm and 25 mm. Allows several flow rates according to the installation. Brass cavity. | 14.68 | #REF!
| PA072021NX | Suction inlet. Cap with 2" external thread and 50 mm inside diameter. Brass cavity. | 14.7 | #REF!
MAIN DRAINS |  |  |  | #REF!
| PA072009N | D200 CONCRETE round main drain from ABS, UV resistant. Outlet 1 1/2". | 24.68 | #REF!
| PA072010BN | D200 LINER round main drain from ABS, UV resistant. Outlet 2", for foil, brass cavity. | 39.2 | #REF!
| PA072017N | D200 CONCRETE square main drain from ABS, UV resistant. Outlet 2". | 37.92 | #REF!
| PA072018BNS | D200 LINER squre main drain from ABS, UV resistant. Outlet 2", for foil, brass cavity. | 69.12 | #REF!
SKIMMERS - concrete (to glue) |  |  |  | #REF!
| PA072011N | Skimmer for concrete pool - STANDARD LINER. Recommended flow: 5000 l/h, regulation by floating unit, d. 50mm a 1 1/2" connection. | 88.82 | #REF!
| PA072013N | Skimmer for concrete pool - WIDE THROAD LINER. Recommended flow: 5000 l/h, regulation by floating unit, d. 50mm a 1 1/2" connection. | 88.59 | #REF!
SKIMMERS - standard liner |  |  |  | #REF!
| PA072112N | SKIMMER SMALL LINER, 1 1/2" connection | 38.77 | #REF!
| PA072012BN | SKIMMER STANDARD LINER. Recommended flow through skimmer: 5000 l/h, regulation by floating unit, diameter 50 mm and 1 1/2", with brass threads. | 123.72 | #REF!
| PA072012BN6 | SKIMMER STANDARD LINER. Recommended flow through skimmer: 5000 l/h, regulation by floating unit, diameter 50 mm and 1 1/2", with brass threads. With 6° slope | 126.2 | #REF!
| PA072012BNC | SKIMMER STANDARD LINER. Recommended flow through skimmer: 5000 l/h, regulation by floating unit, diameter 50 mm and 1 1/2", with brass threads. Extended +10 cm, increased capacity 17,5 l. | 208.36 | #REF!
| PA072012BNE6 | SKIMMER STANDARD LINER. Recommended flow through skimmer: 5000 l/h, regulation by floating unit, diameter 50 mm and 1 1/2", with brass threads. Extended +10 cm, with 6° slope, increased capacity 17,5 l. | 226.6 | #REF!
| PA072014BN | SKIMMER WIDE THROAT LINER. Recommended flow through skimmer: 5000 l/h, regulation by floating unit, diameter 50 mm and 1 1/2", with brass threads. | 125.59 | #REF!
| PA072018BN | SKIMMER WIDE THROAT LINER. Recommended flow through skimmer: 5000 l/h, regulation by floating unit, diameter 50 mm and 1 1/2", with brass threads. With 6° slope | 140.91 | #REF!
| PA072014BNC | SKIMMER WIDE THROAT LINER. Recommended flow through skimmer: 5000 l/h, regulation by floating unit, diameter 50 mm and 1 1/2", with brass threads. Extended +10 cm, with 6° slope, increased capacity 17,5 l. | 241.4 | #REF!
| PA072018BNC | SKIMMER WIDE THROAT LINER. Recommended flow through skimmer: 5000 l/h, regulation by floating unit, diameter 50 mm and 1 1/2", with brass threads. With 6° slope, increased capacity 17,5 l. | 212.27 | #REF!
| PA072020E | Skimmer height extension, for 15 l capacity skimmers. | 8.45 | #REF!
| PA072021E | Skimmer height extension, for 17,5 l capacity skimmers. | 8.71 | #REF!
UNDERWATER LIGHTS - concrete (to glue) |  |  |  | #REF!
| PA071001NW | U/W reflector for concrete (to glue) - supplied with case, without light bulb, including 3 m cable. Face ring from ABS plastic. | 102.64 | #REF!
| PA071001N | U/W reflector for concrete (to glue) - supplied with case, with LED bulb, including 3 m cable. Face ring from ABS plastic. | 207.35 | #REF!
UNDERWATER LIGHTS - standard liner |  |  |  | #REF!
| PA071101BNW | U/W reflector for standard liner (foil) - supplied with case, without light bulb, including 3 m cable. Face ring from ABS plastic. | 157.27 | #REF!
| PA071101BN | U/W reflector for standard liner (foil) - supplied with case, with LED bulb, including 3 m cable. Face ring from ABS plastic. | 228.27 | #REF!
| PA502815STX | LED LAMP PAR56 30LED WHITE | 128.73 | #REF!
| PA501529STX | LED LAMP PAR56 270LED RGB with control remote | 301.89 | #REF!
| PA071112 | Connection protective hose 1,5 m. | 13.2 | #REF!
| PA071113 | CONNECTOR BOX made of white ABS plastic, UV resistant. With three 3/4" holes. Supplied with rubber seal. Fully plastic. | 24.03 | #REF!
| PA071113B | CONNECTOR BOX made of white ABS plastic, UV resistant. With three 3/4" holes, plus d50 for gluing. Supplied with rubber seal. Fully plastic. | 34.66 | #REF!
PUMPS PSH |  |  |  | #REF!
| PA1MICRO25 | MICRO-25; 11/2"/11/2", 0,25 HP, 4,8 m3/h@6m, 230V | 198 | #REF!
| PA1MICRO33 | MICRO-33; 11/2"/11/2", 0,33 HP, 8,3 m3/h@6m, 230V | 209 | #REF!
| PA1MICRO50 | MICRO-50; 11/2"/11/2", 0,50 HP, 10,3 m3/h@6m, 230V | 217 | #REF!
| PA1MINI1030M | 11/2"-50/11/2"-50, 0,33 HP, 9,0 m3/h@8m, 230V | 320 | #REF!
| PA1MINI1050M | 11/2"-50/11/2"-50, 0,5 HP, 10,0 m3/h@8m, 230V | 332 | #REF!
| PA1MINI1080M | 11/2"-50/11/2"-50, 0,8 HP, 12,5 m3/h@8m, 230V | 352 | #REF!
| PA1MINI1100M | 11/2"-50/11/2"-50, 1 HP, 14,4 m3/h@8m, 230V | 366 | #REF!
| PA1MINI1150M | 11/2"-50/11/2"-50, 1,5 HP, 20,2 m3/h@8m, 230V | 399 | #REF!
PUMPS SPECK |  |  |  | #REF!
| PA91040138 | BADU Magic 4, 0,18 kW | 486.75 | #REF!
| PA91060138 | BADU Magic 6, 0,25 kW | 508.28 | #REF!
| PA91080138 | BADU Magic 8, 0,40 kW | 576 | #REF!
| PA91100138 | BADU Magic 11, 0,45 kW | 608.14 | #REF!
| PA90083038 | BADU BETTAR 8, 0,30 kW | 681.78 | #REF!
| PA90123038 | BADU BETTAR 12, 0,45 kW | 699.71 | #REF!
| PA90143038 | BADU BETTAR 14, 0,65 kW | 824.88 | #REF!
LADDERS - inox steel AISI 304 |  |  |  | #REF!
| PA020042 | Ladder (residential/standard), 2 steps | 228.97 | #REF!
| PA020043 | Ladder (residential/standard), 3 steps | 263.1 | #REF!
| PA020044 | Ladder (residential/standard), 4 steps | 293.47 | #REF!
| PA020045 | Ladder (residential/standard), 5 steps | 327.89 | #REF!
| PA021042 | Ladder (wall), 2 steps | 228.72 | #REF!
| PA021043 | Ladder (wall), 3 steps | 257.98 | #REF!
| PA021044 | Ladder (wall), 4 steps | 293.47 | #REF!
LADDERS - inox steel AISI 316 |  |  |  | #REF!
| PA020042x | Ladder (residential/standard), 2 steps | 261.49 | #REF!
| PA020043x | Ladder (residential/standard), 3 steps | 339.03 | #REF!
| PA020044x | Ladder (residential/standard), 4 steps | 364.27 | #REF!
| PA020045x | Ladder (residential/standard), 5 steps | 409.79 | #REF!
| PA021042x | Ladder (wall), 2 steps | 288.37 | #REF!
| PA021043x | Ladder (wall), 3 steps | 318.17 | #REF!
| PA021044x | Ladder (wall), 4 steps | 359.21 | #REF!